## GS1 SN Fault List
设备型号 / Device Model | SN | 故障大类 / Fault Category | 故障小类 / Fault Subtype | 售后结果 / After-Sales Result | 售后说明（中文） | 备注 / Notes
GS1 | P2251212806JND44 | Data Inaccuracy | Persistent Low Glucose Detected | Replacement Eligible | 可售后 | Curve stays below the low-glucose rule window with an active service card.
GS1 | P2251212814SWL27 | Data Inaccuracy | Persistent Low Glucose Detected | Not Eligible | 不可售后 | Persistent low pattern detected but no service card on file blocks replacement.
GS1 | P2251212807KPD52 | Data Inaccuracy | No Fluctuation Detected | Replacement Eligible | 可售后 | Flat glucose curve exceeds the no-fluctuation duration rule.
GS1 | P2251212815TXM35 | Data Inaccuracy | No Fluctuation Detected | Not Eligible | 不可售后 | Flat curve duration is below the no-fluctuation replacement window.
GS1 | P2251212816UYN48 | Data Inaccuracy | Glucose Jump Pattern Detected | Replacement Eligible | 可售后 | Repeated jump pattern with active service card qualifies for replacement.
GS1 | P2251212808LQE63 | Data Inaccuracy | Glucose Jump Pattern Detected | Not Eligible | 不可售后 | Jump pattern falls outside the replacement rule window.
GS1 | P2251212809MRF71 | Sensor falling off | Fall-out detected | Replacement Eligible | 可售后 | Telemetry and abnormal status match the fall-out replacement path.
GS1 | P2251212817VZP56 | Sensor falling off | Fall-out detected | Not Eligible | 不可售后 | Fall-out reported after the wear window expired and no service card on file.
GS1 | P2251212810NSG88 | Abnormal After Warm-up | Initialization abnormality | Replacement Eligible | 可售后 | Abnormal status occurs during initialization with an active service card.
GS1 | P2251212818WAQ64 | Abnormal After Warm-up | Initialization abnormality | Not Eligible | 不可售后 | Initialization abnormality without a service card blocks replacement.
GS1 | P2251212819XBR72 | Abnormal After Warm-up | Probe failure | Replacement Eligible | 可售后 | Probe failure confirmed with an active service card on file.
GS1 | P2251212811PTH96 | Abnormal After Warm-up | Probe failure | Not Eligible | 不可售后 | Probe failure with no service card on file blocks replacement.
GS1 | P2251212820YCS85 | Abnormal After Warm-up | Temporary sensor abnormality | Replacement Eligible | 可售后 | Temporary abnormality persisted past the 3-hour observation window and escalated to replacement.
GS1 | P2251212821ZDT93 | Abnormal After Warm-up | Temporary sensor abnormality | Not Eligible | 不可售后 | Temporary abnormality cleared within the 3-hour window, no replacement needed.
GS1 | P2251212813RVK19 | Application failure | Application failure | Replacement Eligible | 可售后 | Photo evidence confirms the application-failure replacement path.
GS1 | P2251212822AEU09 | Application failure | Application failure | Not Eligible | 不可售后 | Application failure photo evidence does not meet the replacement rule.

## 账号
账号 | 密码 | 权限
christest@sibionics.com | password123 | 管理
green.pharmacy@chris-dealer.example | password123 | 普通
harbor.pharmacy@chris-dealer.example | password123 | 普通